## Material Cost Estimate
Irrigation System — Estimated Material Cost
Worthington Springs property — 6-zone Hunter X2 system
Category | Item | Qty | Unit | Est. Unit Price | Est. Subtotal | Notes
Heads & Accessories | Large-radius rotor (Hunter I-25, ~50ft throw, 5-7 GPM) — Zones 1-5 | 15 | ea | 30 | 450 | Zones 1-5 open turf
Heads & Accessories | Shorter-throw rotor/spray (~25-35ft) — Zone 6 | 5 | ea | 16 | 80 | Midpoint of 4-6 est., field-verify count
Heads & Accessories | Swing joint (one per head) | 20 | ea | 6 | 120 | Matches total head count
Valves & Control | 1" 24V electric solenoid valve | 6 | ea | 24 | 144 | One per zone
Valves & Control | Jumbo valve box (houses all 6 valves) | 1 | ea | 45 | 45 | Or 2 boxes if valves end up spread out
Valves & Control | 18AWG 7-conductor direct burial wire, 500ft spool | 1 | spool | 230 | 230 | Controller to wellhouse to trunk run
Pipe | 1.25" Class 200 PVC mainline | 500 | ft | 0.65 | 325 | Wellhouse -> apron -> trunk, rounded up to 500ft
Pipe | 1" Class 200 PVC lateral pipe | 900 | ft | 0.45 | 405 | Zones 1-5 confirmed range; Zone 6 TBD
Fittings & Adhesives | PVC fittings allowance (tees, elbows, couplings, adapters) | 1 | lot | 180 | 180 | Exact counts depend on final trenching layout
Fittings & Adhesives | PVC primer + cement (combo cans) | 2 | ea | 13 | 26
Other | Backflow preventer (atmospheric vacuum breaker) | 1 | ea | 30 | 30 | Not legally required where you are
Other | Hunter X2 Wi-Fi module (WAND) | 1 | ea | 110 | 110 | Optional — for remote access while traveling
|  |  |  | Estimated Total | 2145
Notes:
- Prices are planning-level estimates from current retail/irrigation-supply listings (Sprinkler Warehouse, Home Depot, Lowe's, SiteOne) as of mid-2026 — actual cost will vary by retailer, region, and quantity discounts.
- Does not include sales tax, shipping, or trenching/installation labor.
- Zone 6 head count and lateral footage are still pending an on-site walk to mark grass vs. mulch bed boundaries — totals will shift once that's finalized.
- Buying heads/valves in bulk packs (e.g., case of 6 or 12) is usually cheaper per-unit than buying individually — worth checking case pricing before ordering.